No Scalpel Vasectomy (NSV) Equipment and Supplies List

Sterile Instruments:

- Ringed clamp (3.5mm ok, cantilevered) [we suggest two for new clinicians]

- Dissecting forceps (Surgical Hemostat).  Set of 1 VE-1 Li Brand™ Ringed Forceps and 1 VE-2 Surgical Hemostat

- Iris/straight scissors (optional as could use cautery tip to hemitransect vas)- 4.5", straight

- Cautery unit and sterile/sterilizable tips

- Surgical clip applier- medium size, 6" long, curved tip.

- Fine tissue forceps or mosquito clamp- Halstead Surgical Clamp or Adson-like, small (~4.5")

- Sterile gloves (6 ½ non-latex)

- Sterile fenestrated drapes

- Sterile gauze

Also:

- Scissors/razor for clipping scrotal hair that would interfere with the procedure

- Antiseptic agents for the surgical scrub

- Antiseptic solution for cleaning the operative area

- 5-cc syringe with a 1 inch 30 gauge needle (or Madajet)

- 1% or 2% lidocaine without epinephrine

- Supplies for vasal occlusion (cautery unit with sterilized tip; surgical clips, hemoclip applier)

- Adhesive tape or Band-Aid for dressing the wound