**No Scalpel Vasectomy (NSV) Equipment and Supplies List**

**Sterile Instruments:**

* Ringed clamp (3.5mm ok, cantilevered) [we suggest two for new clinicians]
* Dissecting forceps (Surgical Hemostat). Set of 1 VE-1 Li Brand™ Ringed Forceps and 1 VE-2 Surgical Hemostat
* Iris/straight scissors (optional as could use cautery tip to hemitransect vas) - 4.5", straight
* Cautery unit and sterile/sterilizable tips
* Surgical clip applier- medium size, 6" long, curved tip
* Fine tissue forceps or mosquito clamp - Halstead Surgical Clamp or Adson-like, small (~4.5")
* Sterile gloves (6 ½ non-latex)
* Sterile fenestrated drapes
* Sterile gauze
* Sutures for bleeding (4.0 vicryl or clinician preference)
* Ties if clips are not big enough for fascial interposition (2.0 silk or clinician preference)
* Needle driver

**Also:**

* Scissors/razor for clipping scrotal hair that would interfere with the procedure
* Antiseptic agents for the surgical scrub
* Antiseptic solution for cleaning the operative area
* 5-cc syringe with a 1 inch 30 gauge needle (or Madajet)
* 1% or 2% lidocaine without epinephrine
* Supplies for vasal occlusion (cautery unit with sterilized tip; surgical clips, hemoclip applier)
* Adhesive tape or Band-Aid for dressing the wound